| 304 S. Gilmore St, PO Box 276 | P (515) 373-6326 |
| --- | --- |
| Gilmore City, IA 50541 | F (515) 373-6314 |
| www.gilmorecityiowa.com | cityhall@gilmorecityiowa.com |

December 7, 2022

TO:  Gilmore City Natural Gas Customers

RE:  Underground Gas Pipe Maintenance

Call Before You Dig

As your natural gas distributor, Gilmore City Utilities, in accordance with federal regulations, wishes to make you aware of certain safety recommendations regarding your underground natural gas piping.

Gilmore City Utilities operates our gas system with an emphasis on safety.  We are required to design, operate and maintain our underground natural gas pipeline in accordance with prescribed federal safety standards.  The gas system does not maintain the gas piping that is customer owned, after our meter and regulator.  These lines feeding a structure or a gas burning appliance are the responsibility of the customer who owns that piping.  If the buried pipe is not properly maintained, it may be subject to corrosion (if the piping is metallic) and/or leakage.

To ensure the continued safe and reliable operation of these lines, the buried piping should be checked periodically.  You (or the building owner) are advised to contract a licensed plumber or heating contractor to assist you in locating and inspecting your buried gas piping.  If any unsafe condition is discovered, repairs should be made ASAP.

If we can answer any questions regarding this notice, please give us a call at (515)368-1892.  Please disregard this notice if you do not have or no longer have buried piping beyond the gas meter.

Sincerely,

Dillon Brundige                                    			     Gilmore City Utilities

Superintendent

# Text boxes

CALL BEFORE YOU DIG

Should you plan to dig around buried gas piping, the piping should be located in advance and

all digging should be carefully done by hand in the vicinity of the pipe.  Iowa law requires that                                         you call Iowa One Call 811 or at 1-800/292-8989 forty eight (48) hours before any excavation or                                            digging work is scheduled to begin.  This free service will notify all utility companies so that                                               any buried lines can be located.